AED Inspection Report

Organization : Demo AED Org    Inspection Period : 2026-05

Device Information

| Manufacturer | Product / Model Name | Serial Number | Manufactured Date |
| --- | --- | --- | --- |
| Philips | HeartStart FRx | AED-DEMO-001 | 2025-05-01 |

Maintenance Period

| Purchase Date | Device Expiry | Pad Replacement Due |
| --- | --- | --- |
| 2025-05-01 | 2035-05-01 | 2028-05-01 |

| Installation Location | 본관 1층 로비 |
| --- | --- |

| No. | Inspection Item | Result |  |
| --- | --- | --- | --- |
|  |  | Abnormal | Normal |
| 1 | Main Unit Operation |  |  |
|  | ① Main unit operating status (power indicator blinking) |  | ✓ |
|  | ② Patient pads present |  | ✓ |
|  | ⦁ Pad Replacement Due : 2028-05-01 |  |  |
|  | ③ Battery charge state |  | ✓ |
|  | ⦁ Battery Replacement Due : 2030-05-01 |  |  |
| 2 | Cabinet Status |  |  |
|  | ① Anti-theft alarm working |  | ✓ |
|  | ② Cabinet guidance labels state |  | ✓ |
|  | ③ Emergency contact list displayed |  | ✓ |
|  | ④ CPR guidance booklet present |  | ✓ |
|  | ⑤ Pad/battery expiry date labeled | ✓ |  |
| 3 | AED Location Signage |  |  |
|  | ① Building entrance signage |  | ✓ |
|  | ② Installation location and direction signage |  | ✓ |
| 4 | Management Documentation |  |  |
|  | Management documentation prepared and present |  | ✓ |
| 5 | Manager Change | Yes | No |
|  | ① Manager Name : Manager Phone (Emergency) : |  | ✓ |
| 6 | Operating Hours |  |  |
|  | ① Available 24 hours | ✓ |  |
|  | ② Not available 24 hours |  |  |

※ Notes : 본체 외관 상단 측면 미세 흠집 확인 — 작동에는 영향 없으나 모니터링 필요.

| Inspection Date : 2026-05-01 | Inspector : Inspector One (Signature) |
| --- | --- |